## Sheet1
Custodial - School Info | Revision:
September 2020 rdb
Note: Some new handicap doors have override switches in the main office: Green (open) / Red (lock)
Site Name & Address
ALPHA Secondary
4600 Parker Street
Entrance:
#1 Off of Parker Street, #2 Main Entrance by parking lot
Alarm Pad:
Both ends of front and rear entrances
Card Readers:
#1 Off of Parker Street. #2 Main Entrance by parking lot
Custodial Keys / Key Box:
Custodial Room - Main Floor - West end of hall off of Parker Street. Key on left-hand side of Key Box on wall.
Fire Alarm Panel:
Basement - D30 Electrical Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/secondary-schools-1/01-alpha
Site Name & Address
Burnaby CENTRAL
6011 Deer Lake Parkway
Entrance:
#1 Main Entrance, #2 North Parking Lot, #3 South Parking Lot - Lower, #4 West/Centre/Track side
Alarm Pad:
#1 On the Left: A - Bottom - School/B - Top - West side Parks & Rec, #2 Right side, #3 Right side, #4 Right Hall side (separate from school alarm).
Card Readers:
#1 Main Entrance, #2 North Parking Lot, #3 South Parking Lot - Lower, #4 West/Centre/Track side
Custodial Keys / Key Box:
Cust. Office - Main Floor (by North entrance) - Keys hung on door of cabinet on S. wall
Fire Alarm Panel:
Main floor - Main Electrical Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/secondary-schools-1/02-burnaby-central
Site Name & Address
Burnaby MOUNTAIN
8800 Eastlake Drive
Entrance:
#1 Main Entrance by parking lot, #2 Receiving entrance driveway, #3 Student Commons entrance
Alarm Pad:
#1 Digital pad (left side), #2 Digital pad (left side), #3 Student Commons Entrance (right side)
Card Readers:
#1 Main Entrance by parking lot, #2 Receiving entrance driveway, #3 Student Commons entrance, #4 Admin Office
Custodial Keys / Key Box:
Key Box #1 in receiving beside intruder alarm panel, #2 second floor main entrance on the right side (next to the automatic door opener). Key is in Custodial Office top desk drawer and set of keys are in locker #1
Fire Alarm Panel:
Main Electrical Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/secondary-schools-1/03-burnaby-mountain
Site Name & Address
Burnaby NORTH
751 Hammarskjold Drive
Entrance:
North Bldg: Receiving Room (bottom of ramp) South Bldg: Entrance off of Kensington
Alarm Pad:
North Bldg: Adjacent to Custodian Room door (switches in custodian's washroom) South Bldg: Top of boiler room stairs (on left) far end of small storage room
Card Readers:
North Bldg: Receiving Room (bottom of ramp)
Custodial Keys / Key Box:
North Bldg: Custodial Office - key on top of Key Box (South-West corner) South Bldg: Across the hall from the Boiler Room, right off the old cafeteria kitchen. The key for the box is hanging off the side of the cabinet inside the shelf. Key + Key Box are on the North wall, right beside the door.
Fire Alarm Panel:
North Bldg: In Valve/Switch room on Main Floor South Bldg: Custodian's Room - Main Floor
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/secondary-schools-1/04-burnaby-north
Site Name & Address
Burnaby SOUTH
5455 Rumble Street
Entrance:
#1 Receiving Rm (West), #2 Front Entry, #3 Daycare, #4 Adult Ed. Portable Pod
Alarm Pad:
#1 Receiving Rm (West) - left side, #2 Front Entry - left side, #3 Daycare - Hallway, #4 Adult Ed. Portable Pod - right side
Card Readers:
#1 Receiving Rm (West), #2 Front Entry, #3 Daycare, #4 Adult Ed. Portable Pod
Custodial Keys / Key Box:
Key to Custodial Room outside grey box - district master key to open. Large Key Box - Relief & Weekend custodian -> key on side of box. Small Key Box - custodial run keys -> foreman desk drawer
Fire Alarm Panel:
Basement - Communications Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/secondary-schools-1/05-burnaby-south
Site Name & Address
CARIBOO HILL
8580 16th Avenue
Entrance:
#1 Boiler room exterior, #2 Main Entrance by office, #3 Eastside in the centre, #4 Gym Bldg front door, #5 Shops Bldg - North Side
Alarm Pad:
#1 in Boiler Room, #2 Office wall in hall (right side), #3 Burnaby Online (right side), #4 Large Gym (left side), #5 Shops Bldg - North Side
Card Readers:
#1 Boiler room exterior, #2 Main Entrance by office, #3 Burnaby Online entrance doors (centre east-side), #4 Gym Bldg front door - left side, #5 Shops Bldg - right side
Custodial Keys / Key Box:
Custodial Office - key under sink (right side). Key Box #1 in boiler room. Key Box #2 in fire alarm room (electrical room)
Fire Alarm Panel:
Main Floor - Electrical Room adjacent to Girl's Washroom / across from Main Office
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/secondary-schools-1/06-cariboo-hill
Site Name & Address
MOSCROP Secondary
4433 Moscrop Street
Entrance:
#1 Main Entrance - blue double doors, #2 Receiving Entrance
Alarm Pad:
Main Entrance - inside on the right
Card Readers:
#1 Main Entrance - blue double doors, #2 Receiving Entrance (no alarm pad), #3 West Entrance by Portables/Parking Lot
Custodial Keys / Key Box:
Custodial Office - Key Box on South wall. There is a small grey box (with a district pad lock) outside of the custodial room that has a set of keys for the school - open with master key.
Fire Alarm Panel:
Lower Floor in Electrical Room - adjacent to Computer Lab
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/secondary-schools-1/07-moscrop
Site Name & Address
BYRNE CREEK Secondary
7777 18th Street
Entrance:
#1 Main Entrance - door on the far right, #2 Receiving Entrance - right door
Alarm Pad:
#1 Main Entrance - on the right, #2 Inside Receiving Entrance
Card Readers:
#1 Main Entrance, Receiving Entrance, #3 Side Gym Entrance
Custodial Keys / Key Box:
Receiving Room - pad lock key in left hand side, top corner of work bench, Key Box in centre locker. Unlock pad lock to access.
Fire Alarm Panel:
Second Floor - Communications Room (by Classroom B206)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/secondary-schools-1/08-byrne-creek
Site Name & Address
ARMSTRONG Elementary
8757 Armstrong Avenue
Entrance:
Back Door off of parking lot (North Hall)
Alarm Pad:
Custodian's Room beside boy's washrooms (North Hall)
Card Readers:
Back entrance off of parking lot - North Hall
Custodial Keys / Key Box:
Custodian's Room beside boy's washroom- Key is kept in Custodial Office under sink cabinet. Key Box beside alarm panel.
Fire Alarm Panel:
Custodian's Office - in small electrical room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/armstrong-1
Site Name & Address
AUBREY Elementary
1075 Stratford Avenue
Entrance:
Main Entrance - front door
Alarm Pad:
Main Office Store Room (behind office door)
Card Readers:
Main Entrance - front door
Custodial Keys / Key Box:
Custodial Office - Key in custodial desk - right hand drawer. Key Box on East wall in shelving (new key box to be installed).
Fire Alarm Panel:
Under Stage - Inside Electrical Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/16-aubrey
Site Name & Address
BRANTFORD Elementary
6512 Brantford Avenue
Entrance:
#1 Main Entrance by parking lot, #2 North Entrance
Alarm Pad:
#1 Main Entrance - on the right by Main Office, #2 North Entrance
Card Readers:
#1 Main Entrance - front door, #2 North-East Entrance - right hand side, #3 South exit by play area (entrance by City garbage pick-up)
Custodial Keys / Key Box:
Keys in Staff Room in custodial letter tray and another set in the Custodial Room - desk drawer.
Fire Alarm Panel:
Electrical Room - across from Classroom 114
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/17-brantford
Site Name & Address
BRENTWOOD PARK Elementary
1455 Delta Avenue
Entrance:
Main Entrance - front door
Alarm Pad:
Main Entrance by Main Office
Card Readers:
#1 Main Entrance - front door, #2 Back door North-East Portable (Daycare)
Custodial Keys / Key Box:
Key Box is in Main Entrance Hallway. Another Key Box in Custodial Office - left hand side of room - dipped around corner of shelving unit. Key for Key Box hidden on inside wall of shleving unit at upper waist height - left side of most south section of shelving unit (towards boiler room door)
Fire Alarm Panel:
Main Floor - in Electrical Room (beside Art Storage Room)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/18-brentwood-park
Site Name & Address
BUCKINGHAM Elementary
6066 Buckingham Avenue
Entrance:
#1 Main Entrance - front door, #2 Back Entrance by Parking Lot
Alarm Pad:
#1 Main Entrance - front door, #2 Back Entrance by Parking Lot
Card Readers:
#1 Main Entrance - front door, #2 Back Entrance by Parking Lot
Custodial Keys / Key Box:
Custodial Office - keys in the desk drawer.
Fire Alarm Panel:
Main Floor - Custodian's Room by Boiler Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/19-buckingham
Site Name & Address
CAMERON Elementary
9540 Erickson Drive
Entrance:
Back Entrance under covered play area - adjacent to parking lot
Alarm Pad:
Custodian's Room - inside door on left
Card Readers:
#1 Back Entrance under covered play area - adjacent to parking lot, #2 Back of school to the caged covered area, #3 bottom of stairs inside the covered caged area
Custodial Keys / Key Box:
Custodial Office - Keys in desk drawer. Key Box adjacent to Alarm Panel.
Fire Alarm Panel:
Main Floor - in Boiler Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/20-cameron
Site Name & Address
CAPITOL HILL Elementary
350 Holdom Avenue
Entrance:
Entrance by South-East parking lot
Alarm Pad:
In locked Boiler Room (get keys from custodial office)
Card Readers:
Entrance by South-East parking lot
Custodial Keys / Key Box:
Custodial Office - Key Box on North wall (L,R,L). Key in desk.
Fire Alarm Panel:
Building 1 - Lower Floor - in Electrical Room (inside Classroom 13)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/21-capitol-hill
Site Name & Address
CASCADE HEIGHTS Elementary
4343 Smith Avenue
Entrance:
#1 Main Entrance (east side front door next to gym), #2 West Portable Entrance (on school building)
Alarm Pad:
Electrical Room
Card Readers:
#1 Main Entrance (east side front door next to gym), #2 West Portable Entrance
Custodial Keys / Key Box:
Custodial Office in Gym - Wooden cabinet corner beside metal shelf (shoulder height). #48 key
Fire Alarm Panel:
Main Floor - in Electrical Room across from Library
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/22-cascade-heights
Site Name & Address
CHAFFEY-BURKE Elementary
4404 Sardis Street
Entrance:
Outside Boiler Room Entrance (by parking area)
Alarm Pad:
Custodian's Room - down the stairs to lower floor - inside electrical storage room
Card Readers:
#1 Main Entrance - front door, #2 Back of Office/Gym Door to Portables
Custodial Keys / Key Box:
Custodial Office - Key on nail (#23) North-East corner on side of locker closet (not readily seen). Key Box on East wall about knee level (C413A)
Fire Alarm Panel:
Lower Floor - in Electrical Room adjacent to Boiler Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/23-chaffey-burke
Site Name & Address
CLINTON Elementary
5858 Clinton Street
Entrance:
Front Door on Buller Avenue
Alarm Pad:
Front Door on Buller Avenue - left hand side
Card Readers:
#1 Buller Avenue Entrance, #2 Clinton Street Entrance
Custodial Keys / Key Box:
Keys are in Store Room - 2nd door on East side of Custodial Office -- 48 key hung in 1st cupboard North side. Custodial keys in 1st cupboard on South side.
Fire Alarm Panel:
Electrical Room (down the stairs)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/24-clinton
Site Name & Address
CONFEDERATION PARK Elementary
4715 Pandora Street
Entrance:
#1 Front Door (Pandora Street), #2 Rear Entrance from parking
Alarm Pad:
#1 Front Door (Pandora Street), #2 Rear Entrance from parking
Card Readers:
#1 Front Door (Pandora Street), #2 Rear Entrance from parking
Custodial Keys / Key Box:
Custodial Office - Key Box on North wall above sink. Key on East wall between electrical panels.
Fire Alarm Panel:
Main Floor - in Boiler Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/25-confederation-park
Site Name & Address
DOUGLAS ROAD Elementary
4861 Canada Way
Entrance:
#1 Custodial Entrance (double doors - West side of building), #2 Parking Lot Entrance
Alarm Pad:
#1 Custodial Entrance (double doors - West side of building) - left side in hallway, #2 Parking Lot Entrance on wall inside
Card Readers:
#1 Custodial Entrance (double doors - West side of building), #2 Parking Lot Entrance
Custodial Keys / Key Box:
Custodial Office - Key Box behind room door. Key on top of the key box.
Fire Alarm Panel:
Lower Floor - inside Boiler Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/27-douglas-road
Site Name & Address
EDMONDS Elementary
7651 18th Avenue
Entrance:
North Entrance by playing field
Alarm Pad:
Front Entrance - 18th Avenue
Card Readers:
#1 Field Entrance, #2 Field Entrance by Gym, #3 18th Avenue Entrance
Custodial Keys / Key Box:
Key Box bottom of stairs from hallway. In the Store Room inside Boiler Room on the North side - custodial keys are in the North-West cupboard by the window (shoulder height hanging on a nail on the inside edge - hinge side)
Fire Alarm Panel:
Lower Floor - inside Boiler Rooom
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/29-edmonds
Site Name & Address
FOREST GROVE Elementary
8525 Forest Grove Drive
Entrance:
Main Entrance - Front Door
Alarm Pad:
#1 By Main Entrance doors, #2 West Entrance Door Hallway
Card Readers:
#1 Main Entrance, #2 Parking Lot Entrance (West side of building), #3 East Parking Lot Entrance
Custodial Keys / Key Box:
Custodial Office - Key inside grey cabinet on nail (top right hand side). Key Box on wall.
Fire Alarm Panel:
Main Floor - in Boiler Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/30-forest-grove
Site Name & Address
GILMORE Elementary
50 Gilmore Avenue
Entrance:
#1 Furnace Room, #2 Main Entrance - Front Door
Alarm Pad:
Custodian's Store Room (Basement - across hall from Furnace Room)
Card Readers:
#1 East Entrance (by covered play area), #2 By the Main Entrance (off of Gilmore Avenue)
Custodial Keys / Key Box:
Custodial Office - Key for box is in custodial desk. Key Box on wall.
Fire Alarm Panel:
Lower Floor - in Electrical Room - adjacent to District Instrument Storage
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/31-gilmore
Site Name & Address
GILPIN Elementary
5490 EglintonStreet
Entrance:
Main Entrance - front door
Alarm Pad:
#1 Main Entrance (inside on the right), #2 West Entrance
Card Readers:
#1 Main Entrance - Gilpin Street, #2 West Entrance Door, #3 Outside Classroom 10 (no alarm pad), #4 Outside South/Library Entrance (no alarm pad)
Custodial Keys / Key Box:
Custodial Office - Key Box on end of shelf. Key box key is in a beige metal box (#32)
Fire Alarm Panel:
Main Floor - in Electrical Room - inside of Custodian's Office
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/32-gilpin
Site Name & Address
GLENWOOD Elementary
5787 Marine Drive
Entrance:
Main Entrance - front door
Alarm Pad:
#1 Main Entrance - on the left, #2 Custodian's Room next to Main Office - in the hall
Card Readers:
Main Entrance - front door
Custodial Keys / Key Box:
Custodial Room - in grey drawer on the right side
Fire Alarm Panel:
Main Floor - inside Boiler Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/33-glenwood
Site Name & Address
INMAN Elementary
3963 Brandon Street
Entrance:
#1 Main Entrance - front door, #2 West Parking Lot Entrance
Alarm Pad:
#1 Copy Room - across hallways from Main Office, #2 West Parking Lot Entrance
Card Readers:
#1 Main Entrance - front door, #2 West Parking Lot Entrance
Custodial Keys / Key Box:
Custodial Office - Key Box mid shelf on the East side. Master padlock key.
Fire Alarm Panel:
Main Floor - in Custodian's Room (adjacent to Boiler Room)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/34-inman
Site Name & Address
KITCHENER Elementary
1351 Gilmore Avenue
Entrance:
West side of South Building (Building A) - under the covered play area
Alarm Pad:
#1 West side / South Building - inside on the left, #2 South Bldg - Main Entrance (Gilmore Avenue)
Card Readers:
#1 West side / South Building
Custodial Keys / Key Box:
Custodial Office - Keys in custodial desk drawer. Small supply room keys on nail in right-hand drawer. Key Box unlocked.
Fire Alarm Panel:
Building A - Main Floor - Electrical Room (inside of Storage Room)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/35-kitchener
Site Name & Address
LAKEVIEW Elementary
7777 Mayfield Street
Entrance:
#1 Main Entrance - back lower entrance to parking lot, #2 Main Entrance - front door, #3 Annex Entrance
Alarm Pad:
#1 Main Entrance - back lower entrance to parking lot, #2 Main Entrance - front door, #3 Annex Entrance
Card Readers:
#1 Main Entrance - back lower entrance to parking lot, #2 Main Entrance - front door, #3 Annex Entrance
Custodial Keys / Key Box:
Custodial Office - Key Box behind door. Key in custodial desk.
Fire Alarm Panel:
Main Floor - Outside of Cutodian's Office
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/36-lakeview
Site Name & Address
LOCHDALE Elementary
6990 Aubrey Street
Entrance:
Main Entrance - Front Door
Alarm Pad:
Main Entrance - inside on the left side
Card Readers:
Main Entrance - Front Door
Custodial Keys / Key Box:
Custodial Office in Gym - Key Box near door. Key is in custodial desk, right hand drawer.
Fire Alarm Panel:
Main Floor - Electrical Room (adjacent to Music Room)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/37-lochdale
Site Name & Address
LYNDHURST Elementary
9847 Lyndhurst Street
Entrance:
Back Parking Lot Entrance (North side of the Building)
Alarm Pad:
Back Parking Lot Entrance (North side of the Building) - left hand side
Card Readers:
#1 Main Entrance adjacent to Main Office, #2Back Parking Lot Entrance (North side of the Building)
Custodial Keys / Key Box:
Key Box is inside the Custodial Office. Key is kept in the custodial office in top desk drawer.
Fire Alarm Panel:
Main Floor - inside Custodial Office
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/38-lyndhurst
Site Name & Address
MARLBOROUGH Elementary
6060 Marlborough Avenue
Entrance:
East - Main Entrance - front door // West - Boiler Room Entrance (back of building by DLRC - need key) // DLRC - Main Entrance (noted above entrance) // Welcome Centre - West Doors
Alarm Pad:
East - near front entrance in Resource Rm (right side door) // West - Boiler Room // DLRC - Main Entrance (noted above entrance) - by entrance // Welcome Centre - on wall by washrooms
Card Readers:
East - Main Entrance (left side) // West - #1 East Entrance, #2 South Entrance by the Gym
Custodial Keys / Key Box:
East - Custodial Room off of Main Entrance. Key in South-West corner behind door between wall and alarm panel. Key Box beside(#39) // West - Custodial Office - North-East corner of Gym. Key is bottom of first aid box on end of grey cabinet. Key Box is above
Fire Alarm Panel:
East - inside Boiler Room West - Lower Floor - inside Electrical Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/39-marlborough
Site Name & Address
MAYWOOD Elementary
4567 Imperial Street
Entrance:
Back Lane behind school through Custodial Room
Alarm Pad:
#1 in Custodian's Room, #2 Main Entrance foyer by Main Office
Card Readers:
#1 Back Lane - Custodial Room, #2 North Entrance
Custodial Keys / Key Box:
Custodial Office - Key Box in grey cupboard above desk. Key hanging on nail inside wooden cupboard.
Fire Alarm Panel:
Main Floor - inside Custodian/Boiler Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/40-maywood
Site Name & Address
MONTECITO Elementary
2176 Duthie Avenue
Entrance:
Main Entrance - Front Door
Alarm Pad:
Main Entrance (on the left side)
Card Readers:
#1 Main Entrance - Front Door (on the right), #2 East Entrance (back door)
Custodial Keys / Key Box:
Custodial Office - Key Box beside alarm panel at Main Entrance. Key in custodial desk drawer.
Fire Alarm Panel:
Main Floor - Electrical Room by Main Entrance
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/41-montecito
Site Name & Address
MORLEY Elementary
7355 Morley Street
Entrance:
#1 Main Entrance (Front Door), #2 Daycare Entrance - East
Alarm Pad:
Custodian's Room - North Hall
Card Readers:
#1 Main Entrance (Front Door), #2 Daycare Entrance - East
Custodial Keys / Key Box:
Custodial Office - Key Box above sink. Key on nail under desk, right-hand side (#42)
Fire Alarm Panel:
Main Floor - Electrical Room (adjacent to Art Storage Room)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/42-morley
Site Name & Address
NELSON Elementary
4850 Irmin Street
Entrance:
West Side - Back double doors
Alarm Pad:
1) Custodian's Room (lower floor, in the gym hall) behind the door. 2)SW Entrance
Card Readers:
South/West Entrance to ground floor
Custodial Keys / Key Box:
Custodial Office - Keys are in custodial desk drawer
Fire Alarm Panel:
Main Floor - Electrical Room (inside art/resource room)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/43-nelson
Site Name & Address
PARKCREST Elementary
6055 Halifax Street
Entrance:
Main Entrance - Front Door
Alarm Pad:
Custodian's Room - right side in shelving
Card Readers:
Main Entrance - Front Door
Custodial Keys / Key Box:
Custodial Office - Key Box on South-East side of shelving. Key in custodial desk, right-hand drawer
Fire Alarm Panel:
Main Floor - Custodian's Room (adjacent to Mechanical Room)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/44-parkcrest
Site Name & Address
TAYLOR PARK Elementary
7590 Mission Avenue
Entrance:
Main Entrance - Front Doors
Alarm Pad:
Main Entrance (x2)
Card Readers:
Main Entrance
Custodial Keys / Key Box:
Custodial Office - Key Box inside door. Key chained to side of key box.
Fire Alarm Panel:
Upper Part Gym - in Mechanical Mezzanine
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/45-taylor-park
Site Name & Address
UNIVERSITY HIGHLANDS Elementary
9388 Tower Road
Entrance:
#1 South-West Entrance Door, #2 South-East by Gym
Alarm Pad:
#1 Front Entrance on library wall, #2 On right hand corner outside gym kitchen. *Disarm main building first*
Card Readers:
#1 South-West Entrance Door, #2 South-East by Gym
Custodial Keys / Key Box:
Set of keys are kept in Main Office inside first cabinet on the left, hanging on a screw. Key Box is right beside the alarm panel by library.
Fire Alarm Panel:
Main Floor - Electrical Room (adjacent to Main Office)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/46-university-highlands
Site Name & Address
ROSSER Elementary
4375 Pandora Street
Entrance:
Back door next to Boiler Room door (west side of building)
Alarm Pad:
Custodian's Room - Lower Floor outside wall
Card Readers:
Back door next to Boiler Room door (west side of building)
Custodial Keys / Key Box:
Custodial Office - Key Box on door side. Key in desk.
Fire Alarm Panel:
Main Floor - Custodian's Office
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/47-rosser
Site Name & Address
SEAFORTH Elementary
7881 Government Road
Entrance:
Front Door - Sout-East corner by South parking lot
Alarm Pad:
Custodian's Room in beside the Main Office
Card Readers:
Main Entrance - on the right side
Custodial Keys / Key Box:
Custodial Room by Main Office - Key Box beside blue cabinet under the alarm pad. Key is in the custodial lock up under the blue cabinet on a nail.
Fire Alarm Panel:
Lower Part Library - in Electrical Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/48-seaforth
Site Name & Address
SECOND STREET Elementary
7502 Second Street
Entrance:
Boiler Room entrance - East side
Alarm Pad:
Outside custodian's room next to boiler room
Card Readers:
North Entrance - adjacent to parking lot
Custodial Keys / Key Box:
Custodial Office - Key Box is in the Boiler Room - small storage room on west wall grey cabinet behind door. Key behind door on a nail.
Fire Alarm Panel:
Main Floor - Custodian's Room (adjcent to Boiler Room)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/49-second-street
Site Name & Address
SPERLING Elementary
2200 Sperling Avenue
Entrance:
#1 Main Entrance (North), #2 Boiler Room (by gas cage and portables)
Alarm Pad:
#1 Main Entrance (North), #2 Boiler Room small storage room
Card Readers:
#1 Main Entrance (North), #2 Boiler Room Entrance
Custodial Keys / Key Box:
Boiler Room Storage Room - Key Box on South side in shelving. Key in custodial room inside Boiler Room on a nail.
Fire Alarm Panel:
Main Floor - Electrical Room (inside of Storage Room attached to Gym). Full Day Kindergarten Panel is in Mechanical Closet.
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/50-sperling
Site Name & Address
STONEY CREEK Elementary
2740 Beaverbrook Crescent
Entrance:
Boiler Room - South end entrance
Alarm Pad:
Custodian's Room. Environment Portable: code 2730
Card Readers:
North End of parking lot
Custodial Keys / Key Box:
Custodial Office - Key Box on left side (North wall). Key is in cabinet on the second shelf hung on a nail. Environmental Portable keys in Lock Box with Tag.
Fire Alarm Panel:
Main Floor - Electrical Room by Gym
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/51-stoney-creek
Site Name & Address
STRIDE AVENUE Elementary
7014 Stride Avenue
Entrance:
#1 Stride Avenue - West Entrance, #2 East Parking Lot Entrance
Alarm Pad:
#1 Inside 1st door on right of West Entrance, #2 Left side of East parking lot entrance, #2 Stride Ave Daycare - right side of entrance
Card Readers:
#1 Stride Avenue - West Entrance, #2 East Parking Lot Entrance
Custodial Keys / Key Box:
Key to Custodial Office is in a grey time clock box outide Custodian's office. Use master padlock key - key box in office South-East corner (key is chained to box).
Fire Alarm Panel:
Main Floor - Mechanical/Boiler Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/52-stride-avenue
Site Name & Address
SUNCREST Elementary
3883 Rumble Street
Entrance:
Back Door by parking lot
Alarm Pad:
Back Door by parking lot
Card Readers:
#1 Main Entrance - Front Door, #2 Back door by parking lot, #3 Doors going to portables
Custodial Keys / Key Box:
Custodial Office - Key Box inside door -> Key in desk drawer
Fire Alarm Panel:
Main Floor - Electrical Room (adjacent to Main Office)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/53-suncrest
Site Name & Address
SOUTH SLOPE Elementary
4446 Watling Street
Entrance:
#1 Lower rear entrance along Sussex Drive, #2 Main Entrance (North)
Alarm Pad:
#1 Left of Fire Doors, #2 By General Office (North entrance)
Card Readers:
#1 Front Entrance (North), #2 East Entrance, #3 South Entrance
Custodial Keys / Key Box:
Custodial Office - Key Box on North wall. Key is in the left hand drawer of the desk
Fire Alarm Panel:
Lower Floor - Communication Room access through Kindergarten Room 101
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/54-south-slope
Site Name & Address
TWELFTH AVENUE Elementary
7622 Twelfth Avenue
Entrance:
Parking Lot Entrance
Alarm Pad:
in Electrical Room by Main Office
Card Readers:
Parking Lot Entrance
Custodial Keys / Key Box:
Custodial Office - Keys in cupboard on West side. #48 key in desk
Fire Alarm Panel:
Main Floor - Electrical Room (adjacent to Boiler Room / Main Office)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/55-twelfth-avenue
Site Name & Address
WESTRIDGE Elementary
510 Duncan Avenue
Entrance:
North Entrance - adjacent to parking lot
Alarm Pad:
Custodian's Room to the right of Main Entrance (West Entrance)
Card Readers:
North Entrance - adjacent to parking lot
Custodial Keys / Key Box:
Custodial Office - Key Box behind door. Key in desk.
Fire Alarm Panel:
Main Floor - Custodian's Office by Main Entrance
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/56-westridge
Site Name & Address
WINDSOR Elementary
6166 Imperial Street
Entrance:
Main Bldg: #1 Main Entrance by parking lot // Annex: Main Entrance (South) // Adult-Ed Pod: Main Entrance on Gilley Ave (use old fire key)
Alarm Pad:
Main Bldg: #1 Main Entrance by parking lot, #2 Entrance by YMCA portable // Annex: Hallway (left side) // Adult-Ed Pod: Main Entrance (inside on the left)
Card Readers:
Main Bldg: #1 Main Entrance by parking lot, #2 Entrance by YMCA portable // Annex: Main Entrance (South) // Adult-Ed Pod: No Swipe Card
Custodial Keys / Key Box:
Custodial Office in Main Building - Inside Boiler Room - Key is on nail under sink (right side)
Fire Alarm Panel:
Main Bldg: In Boiler Room // Annex: in Boiler Room // Education Pod: in Mechanical Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/elementary-schools-1/57-windsor
Site Name & Address
DISTRICT Board Office (NEW 2021)
4041 Canada Way
Entrance:
East door facing parking lot
Alarm Pad:
Custodian's Room
Card Readers:
East door facing parking lot
Custodial Keys / Key Box:
Custodial Room - Key at the end of grey cabinet. Key Box between two grey cabinets.
Fire Alarm Panel:
Main Floor - inside Custodian's Office
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/district-sites/60-schou-education-centre
Site Name & Address
DISTRICT BOARD OFFICE
5325 Kincaid Street
Entrance:
North-East back entrance (Print Shop)
Alarm Pad:
North-East back entrance (Print Shop)
Card Readers:
North-East back entrance (Print Shop)
Custodial Keys / Key Box:
Key Box #1: By Alarm Panel (by print shop) Key Box #2: in Boiler Room
Fire Alarm Panel:
Lower Part by Main Entrance/Reception Desk - in Boiler Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/district-sites/61-district-board-office
Site Name & Address
MAINTENANCE SERVICES CENTRE (MSC)
3350 Norland Avenue
Entrance:
Main Entrance ( Norland Avenue)
Alarm Pad:
Main Entrance (x2) - one for main building, the other for yard
Card Readers:
#1 Main Entrance (Norland Avenue), #2 several interior card readers
Custodial Keys / Key Box:
Key Box in hallway by office (across from photocopier) #59 set
Fire Alarm Panel:
Upper Mezzanine above Metal Workshop - inside Electrical Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/district-sites/62-maintenance-services-centre
Site Name & Address
CANADA WAY EDUCATION CENTRE (CWEC)
5310 Woodsworth Street
Entrance:
#1 Main Entrance (Woodsworth Street), #2 Royal Oak Secondary (access behind building)
Alarm Pad:
#1 CWEC Custodian's Office, #2 CWEC West Entrance, #3 Royal Oak Main Entrance
Card Readers:
#1 Main Entrance (Woodsworth Street), #2 Royal Oak Secondary - no alarm panel (access behind building)
Custodial Keys / Key Box:
Custodian's Office - District master lock key - behind Key Box (South wall) beside alarm panel
Fire Alarm Panel:
Main Floor - in Electrical Room (adjacent to Boiler Room)
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/district-sites/63-canada-way-education-centre
Site Name & Address
DUTHIE UNION Site
7231 Frances Street
Entrance:
Main Entrance - west side of building off of Frances Street
Alarm Pad:
Main Office Store Room
Card Readers:
No Swipe Cards
Custodial Keys / Key Box:
Custodial Room - keys in grey timer box - district master padlock key
Fire Alarm Panel:
Main Floor - in Electrical Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/district-sites/64-duthie-union
Site Name & Address
RIVERWAY WEST Site
4340 Carson Street
Entrance:
Main Entrance - west side of building off of parking lot
Alarm Pad:
#1 Custodian's Office - behind door, #2 North Entrance by Main Office
Card Readers:
#1 West Entrance, #2 North Entrance by Main Office
Custodial Keys / Key Box:
Custodial Office - Keys in grey cabinet above desk. #48 key for cabinet in grey timer box end of cabinet by door (Master padlock key)
Fire Alarm Panel:
Lower Floor (East under Gym) - Adjacent to District Storage in Electrical Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/district-sites/66-riverway-west
Site Name & Address
MARIAN Site
7650 Sapperton Avenue
Entrance:
#1 Main Entrance (West Side off of Sapperton - under arch), #2 Double doors (East side of building by Gym). Go through next set of doors.
Alarm Pad:
#1 Main Entrance (West Side), #2 in Electrical Room
Card Readers:
No Swipe Cards
Custodial Keys / Key Box:
Custodial Room #221 --> grey box not locked - see secretary to open custodial room
Fire Alarm Panel:
Lower Floor in Gym Building - inside Mechanical Room
Drawing Link (Custodial Assignments, Mechanical Shut-Offs, Security):
https://portal.burnabyschools.ca/access/docman-facilities-public/district-sites/68-marion